# Overview

Code Brown is activated if one or more of the following criteria are met:

- Staff are not trained in spills clean-up

- The spill is of an unknown substance(s)

- The spill involves any amount of mercury or pepper/bear spray

- There is a release/leak of a hazardous gas

- The spill has seeped into inaccessible areas (e.g. elevator shaft or hoist way)

- Appropriate PPE and cleanup supplies are not available

Note: Contact appropriate Chemical Spill Response Team, as applicable

As in all emergencies, consider your safety first.

# Response Procedures

### All Staff

Ensure your own safety and that of others – avoid skin, eye, and respiratory exposure to the substance

Remove persons from immediate danger

Obtain first aid, as needed

Notify [Manager/Director of Care/Designate]

Do not assist in the actual clean-up of the spill

### [Manager/Director of Care/Designate]

Ensure your own safety and that of others – avoid skin, eye, and respiratory exposure to the substance

  - Ensure area is secured using a barrier/caution tape

Designate a runner/designate someone to announce overhead three times:

  - “Code Brown [name of substance if known] in [exact location – building, floor, room]”

- If there is a risk of fire or explosion, or if the safety of occupants is threatened, 
call Fire Department at 911

- If you smell rotten eggs and believe there may be a natural gas leak call 911

- Meet appropriate Chemical Spill Response Team and/or Fire Department to affected area, if necessary

If safe, consider the following:

  - Close doors

  - Open external windows to ventilate the area

  - Attempt to control the source of the spill/gas leak

  - Extinguish all ignition sources if the spill material is flammable

Notify:

  - [Maintenance]

  - [Insert departments/agencies/organizations to be notified]

Provide guidance, such as activating Code Green – Evacuation, and support as needed

Do not assist in the actual clean-up of the spill

When appropriate, designate a runner/designate someone to announce overhead three times:

  - “Code Brown – All Clear”

### [Maintenance] – If no Maintenance available, remove this section and complete actions as provided by 911/Chemical Response Team/Fortis BC

Ensure your own safety and that of others – avoid skin, eye, and respiratory exposure to the substance

If a natural gas leak is suspected contact FortisBC

Respond to the area to determine any facility system impacts, assess fire risk, etc.

Consider whether changes to the area’s ventilation system are needed in consultation with [Manager/Director of Care/Designate] and other subject matter experts (for example: Fire Department)

Do not assist in the actual clean-up of the spill

# post incident actions

- Ensure proper documentation is completed, as applicable:

  - [Insert title of documentation that should be completed after a code brown]

- Debrief and ensure psychosocial support is provided, as needed

# supports

- If you experience any type of distress from an incident, you are encouraged to seek incident debriefing or emotional support [insert information on who to speak with and any resources available]